Radio Module (RMS) Installation

To install Sensor radio module for gas meter in this case please follow next steps:

Shut off the resource supply through the meter (gas).

Mount the Sensor radio module on the meter body as indicated on Pic.1a, 1b.

Be sure that the LED-status indicator flashes once shortly immediately after mounting and then it flashes several times more shortly in ~20 sec. Herewith activation of the Sensor radio module is done automatically.

1a 1a	1b 1b