Sensors

Water Accounting

Model	Аppearance	Resource type	Applicability	Sensor type	Radio module compatibility
Jooby Aquaris SNS WOAP01 100	Water	W-Apator JS Master +	Optical	Universal/Multichannel (RM)
Jooby Aquaris SNS WOAP02 100	W-Apator JS Smart +	Optical
Jooby Aquaris SNS WIAP01 100	W-Apator JS Master +	Inductive
Jooby Aquaris SNS WIAP02 100	W-Apator JS Smart +	Inductive

Gas Accounting

Model	Аppearance	Resource type	Applicability	Sensor type	Radio module compatibility	Connection Cable	Documentation
ITRON 951.858.06*	Gas	Magnet	Universal/Multichannel (RM)	Jooby Cable 1PI 100	itron_951.858.pdf
Connecting to the Radio Module

Connection Cables

Model	Аppearance	Applicability	Radio module compatibility	Documentation
Jooby Cable 1PI 100	For connecting external sensors	Universal/Multichannel (RM)
Jooby Splitter 1x2PU	For connecting external sensors	Universal/Multichannel (RM)
Jooby Splitter 1x4PU	For connecting external sensors	Universal/Multichannel (RM)