Sensors

Water Accounting

Jooby Sensors
Model	Аppearance	Resource type	Applicability	Sensor type	Radio module compatibility	Connection Cable	Documentation
Jooby Aquaris SNS WOAP01 100	Water	W-Apator JS Master +	Optical	Universal/Multichannel (RM)	-
Jooby Aquaris SNS WOAP02 100	W-Apator JS Smart +	Optical
Jooby Aquaris SNS WIAP01 100	W-Apator JS Master +	Inductive
Jooby Aquaris SNS WIAP02 100	W-Apator JS Smart +	Inductive
Third Party Manufacturers
Model	Аppearance	Resource type	Applicability	Sensor type	Radio module compatibility	Connection Cable	Documentation
Xylem Sensus HRI-B	Water	Sensus meters built since 2008 that are pre-equipped with an HRI modulator. www.xylem.com - Sensus HRI Sensor	Inductive	Universal/Multichannel (RM)	Jooby Cable 1PI 100

Gas Accounting

Third Party Manufacturers
Model	Аppearance	Resource type	Applicability	Sensor type	Radio module compatibility	Connection Cable	Documentation
ITRON 951.858.06*	Gas	Itron RF1 BKG2.5, 4…BKG6	Magnet	Universal/Multichannel (RM)	Jooby Cable 1PI 100	itron_951.858.pdf
Connecting to the Radio Module

Connection Cables

Model	Аppearance	Applicability	Radio module compatibility	Documentation
Jooby Cable 1PI 100	For connecting external sensors	Universal/Multichannel (RM)
Jooby Splitter 1x2PU	For connecting external sensors	Universal/Multichannel (RM)
Jooby Splitter 1x4PU	For connecting external sensors	Universal/Multichannel (RM)